Reducing ohmic losses by improving the phenomenon of shadows in accordance with the new structure of solar cell network

Reza As’adi

Department of Electrical Engineering

Shahed University

Tehran, Iran

asaadi@shahed.ac.ir

Ali Ramezani

Department of Electrical Engineering

Amirkabir University of Technology

Tehran, Iran

ali.ramezani@aut.ac.ir

Abstract

The mutual shadows caused by the shadowing of solar arrays on each other in places with area limitation and desire to generate more power, causes huge losses in solar power production of a power plant. Reconfiguring the arrays to distribute more these predictable shadows is one of the effective ways to solve this problem.

In this article a method for configuring solar arrays with TCT based connects for the purpose of maximizing the shadow distribution and reducing loss of ohmic connection has presented. This method, besides reducing the effects of one-way mutual shadows, reduces ohmic losses caused by connection wires between presentation modules. Comparisons made between this way of suggested configuration methods and the other main methods which has not considered connection conductors ohmic losses in optimizing function, shows a significant increase in productivity in mutual shadow condition. These results are calculated and compared for productivity of a solar power production for a year.

Keywords: solar arrays, renewed configuration, ohmic losses increasing productivity.